## Main Page
Trinidad and Tobago Energy Efficiency LIGHTING LABORATORY
LED's and cfl's lighting products
Processing Declarations
Product Registration
Sample Submission

## Sample Submission
Flowchart for SAMPLE SUBMISSION PROCESS
Navigation Buttons | Navigation Buttons
|  | Client | Client
|  | Regional Testing Facility (RTF) | Regional Testing Facility (RTF)
Action
TTBS Respond to Client with Request for Quotation Form (RFQ)
Express interest in Testing Services
no
yes
Return to Main Page
TTBS follow-up via various lines of communication
RFQ accepted, Form completed and returned to RTF
TTBS Respond to Client with Laboratory Services Order Contract (LSOC)
LSOC Form completed, signed and stamped as Quotation accepted. LSOC returned to RTF
TTBS Respond to Client with acceptance of Laboratory Services Order Contract (LSOC)
Client to make payment before testing is scheduled
TTBS scheduled Testing. Product to be submitted 5 working days before scheduled testing date
Client to arrange shipping of prodcut to RTF
Client to inform and submit all shipping documents to RTF
RTF to notify Inspection Body of shipment
Items cleared from Customs and delivered to RTF
Items inspected by RTF
Samples acceptable?
Inform Client of any anomolies of samples submitted. Resolve issues.
Commencement of Testing
Generation of Test Report
yes
no
Issurance and delivery of Test Report
Complete RTF feedback form and returned
RTF Information
Client Information
Request for Quotation

## Product Registration
Flowchart for Product Registration - IMPLEMENTATION DIVISION TTBS
Did documents submitted satisfy requirements as per the National Procedure Manual?
Assess Documents submitted
Inform Importer of the deficiencies that can prohibit registration
Product Registration Request
Importer to submit Application Form and supporting documentation
Register Product on Local Product Database
Importer is granted a Provisional Approval for Importation
No
Yes
Importer is issued a Product Registration Certificate
Return to Main Page
Application Forms can be found on the TTBS Website or provided upon request with all required documentation
Cross reference with Local Product Database and Regional Product Database
The Product is to be additionally registered on the Regional Product Database

## Processing Declarations
Flowchart for Processing Declarations with RAC Products, CFL and LED Bulbs
Approver
Approver
Inspector
Inspector
Inspector
Query for required documentation
Assess Documents submitted
Item Released for Sale
Login to TTBizLink
(Flagging via HS Codes)
Was required document attached?
Does Product Conform?
Inform Wholesaler/ Retailer of non- conformities and actions to be taken
No
Yes
Inspection Options:
1. On Site Inspections
2. Remote Visual Inspections (RVI)
Yes
No
Actions:
1. Testing
2. Re-shipping of Product
3. Relabelling of item(s)
Return to Main Page
Product Registration Certiificate (PRC)
Was request document uploaded?
Yes
Refer to Product Registration Application Process
No
Hold items for Inspection at Permises
Conduct Inspection of Products
Refer to Authorized Personnel for Decision to be made. Cross reference with Local Product Database and Regional Product Database

## Client Info
DURING THIS STAGE:
It's the Client's responsibiity to liaise with the RTF to confirm all documentation are properly and correctly filled.
If the samples received by the RTF have anomilies during the inspection process, the client shall respond immediately
to recitfy any issues with samples or packaging submitted for testing.
Anomolilies: Different
1 | Brand
2 | Wattage
3 | Voltage
4 | Lumens
5 | Lamp Cap
6 | Rated Life
7 | Model
8 | Damage Packaging
Return to Sample Submission
RTF Information

## RTF Info
REGIONAL TESTING FACILITY - INFOMATION
DURING THIS STAGE:
The Regional Tesdting Facility (RTF) responsibiity is to liaise with the Client to provide all the necessary information required for testing.
Sample Size for LEDs require
23
Note: sample size 20, in addition of 3 samples for damage or broken samples (at the Client's discretion).
Duration for Testing and Reporting of LEDs
The duration for Testing of LED lamps can extend to three (3) working days
The duration for Reporting of LED lamps extend to one (1) working day
Sample Size for CFLs require
13
Note: sample size 10, in addition of 3 samples for damage or broken samples.
Duration for Testing and Reporting of LEDs
The duration for Testing of CFL lamps can extend to seven (7) days
The duration for Reporting of LED lamps can extend to one (1) working days
Note: the Ageing Procees is conducted for 100hrs ( 4.5 days) in addition to two (2) days for testing
Cost for Testing of Lighting Products
| LEDs |  | USD 450.00
| CFLs |  | USD 500.00
Return to Sample Submission

## Cover Sheet
This MS Excel sheet consists of the following tabs:
Navigation Buttons
Instructions Page
Provides guidance on how to fill in the information on the RFQ
Sample page
Sample page shows how information should be entered
RFQ
To be filled in by customer.
If more than 5 samples are to be submitted for a job, add additional rows as required.
All of the boxes are tick boxes.
Provides a listing of test methods for each of the four (4) testing laboratories. Select the appropriate tab by lab and insert service required and method on RFQ.
Chemical Lab
Fibre Lab
Electrical/EE Lighting Lab
Materials Lab
Return to Sample Submission
Request for Quotation Form

## Instruction Page
TRINIDAD AND TOBAGO BUREAU OF STANDARDS
LABORATORY SERVICES & METROLOGY DIVISIONS
INSTRUCTIONS ON USE OF RFQ FORM
This instructions will guide the user on how to fill-out the request for qoutation form accurately.
This form should be utilised by our existing and potential clients of the Laboratory Services Division when requesting a Quotation and subsequent agreeing to our Service Order Contract (Terms and Conditions).
INSTRUCTIONS
1. | At the top right-hand corner, clients must provide the date that the request will be submitted.
2. | The appropriate testing laboratory whose services the client requires should then be selected.
3. | Clients will then proceed to the customer information section which comprises of two sub-sections. The first section should be completed by the client. The second section would only be applicabe if the report produced is to be despatched to an organisation that differs from the client.
4. | The billing information section should inform of the individual/company who has to fulfill the payment obligation for the provision of the contract/quote. The comment "same as client" can be utilised for this section or the fields can be filled with new information if the responsible party differs from the client.
5. | Payment method-the most suitable payment method for the client should be selected from the options provided. TTBS will provide Quotation based on RFR. Once the Quotation is accepted by you (Client), TTBS will prepare and send to you (Client) via email a Service Order Contract (SOC) and Invoice for payment. The Client will agree to the SOC information and the Terms and Conditions to make payment.
6. | Proof of payment should also be provided to the Standards Officer of the Lab in order for our Accounts department to recognise the payment. At this stage, Additionally, the foreign field is only applicable to our regional and international clients. Once this option is selected the client must further engage us for TTBS' foreign banking information. Note: when making payment the Client shall make reference to the following: > Quotaion #: indicating Q Ref.#, > Service Order Contract #: S Ref.#, > Invoice #
7. | For the sample description section, clients must ensure that they complete the first column titled sample type/description with the necessary technical information to be appropriately serviced. Also if uncertain, the test method column should be completed with the aid of the different tabs containing the various test methods. The special requirements field must be utilised by the client to communicate any important considerations to the lab officials.
8. | If the client is unsure if a sample is required this should be clearly indicated and the responsible standards officer will advise as necessary.
BACK

## Sample Page
Laboratory Request for Service Order Contract / Quotation
To request Quotation or Contract , kindly complete all steps as necessary below and return to us at the following: | [7 empty] | Date: | 2024-05-28
Email: lab.services@ttbs.org.tt
We will email a Service Contract, inclusive of quotation once we process your request.
TESTING LABORATORY (Select applicable area of testing request should be directed to, if known)
Laboratory Area
Step 1: CUSTOMER INFORMATION
CLIENT INFORMTION |  |  |  |  | REPORT TO BE ADDRESSED TO (if different from Client Information)
Client Name: |  | PLC Authority |  |  | Company Name: | Railway Authority
Address: |  | Blue Vale Boulevard, Green County |  |  | Address: | #1 Main Ave, Marigoal Street
|  | Maine, USA |  |  |  | POS, Trinidad and Tobago
Technical Contact: |  | Mr. John Doe |  |  | Technical Contact: | Ms. Jane Harris
Position: |  | HSE Officer |  |  | Position: | Head Engineer
Phone: |  | 1 868 546-9867 |  |  | Phone: | 9 022 654-2341 ext 02156 / cell 9 022 546-4569
Email: |  | john.doe@yahoo.com |  |  | Email: | jane.harris@instrumentengineering.cau
BILLING INFROMATION
Billing Contact |  | Ms. Heather John |  |  | Email: | heatherj@gamil.com |  | Phone | 1 868 569-5489
Billing Company |  |  | Same as Client Information
(if Payee not same as customer submitting sample)
PAYMENT METHOD
PRIOR TO SERVICE, TTBS REQUIRES PAYMENT OR HARDCOPY OF PO REFERENCING QUOTED DOLLAR AMOUNT
Payment Method: | Local
| Foreign | US Account will be provide upon request.
All cheques payable to: TRINIDAD AND TOBAGO BUREAU OF STANDARDS
Step 2: SAMPLE DESCRIPTION
Sample Type/ Description |  |  | Sample Quantity | *Service Requested
(Manufacturer, Brand, Style, Batch No. etc.) |  |  |  | Test Method |  |  | Special requirements
|  |  |  | (if assistance required, indicate: Lab Suggestion needed) |  |  | (e.g. sample or environmental conditions, specifications/limits)
HV Insulated Gloves, Salisbury, Model# 145845, Class 4, Size 10, Type 2. |  |  | 5 | ASTM D120-23- Proof Test or Re-Test
Long navy blue trouser |  |  | 2 | AATCC 20- Fibre Identification |  |  | If sample must be cut, please take from inner pocket or hem
Length reinforced steel bar |  |  | 6 | ASTM A370- Charpy Impact Test |  |  | Please return any uncut material
Bleach |  |  | 1
Sampling required by customer? |  |  |  | If YES, please state what sampling method is being used: ISO 2569, In-House method reference to ISO 298
Report Delivery
Sample Return
Any other information required on Test Report (e.g. Statement of Conformity required or not, Expedited job required etc). Attach additional sheet if required.
* For Steel bar sample, please indicate Pass or Fail on test result table
*Appendix - List of laboratory methods attached in tabs for each Lab
Materials
Chemical
Fibre
Electrical
Cash
Company Cheque/ Bank Draft
Debit Card
ACH
Yes
No
Email softcopy
Hardcopy to be collected
Yes
No
To advise lab after testing
Wire Transfer (only)
BACK

## RFQ
Laboratory Request for Service Order Contract / Quotation
To request Quotation or Contract , kindly complete all steps as necessary below and return to us at the following:
Email: lab.services@ttbs.org.tt OR to sender of this Request
We will email a Service Order Contract, inclusive of quotation once we process your request. | [6 empty] | Date: | yyyy:mm:dd
TESTING LABORATORY (Select applicable area of testing request should be directed to, if known)
Laboratory Area:
Step 1: CUSTOMER INFORMATION
CLIENT INFORMTION |  |  |  |  | REPORT TO BE ADDRESSED TO (if different from Client Information)
Company Name: |  |  |  |  | Company Name:
Address: |  |  |  |  | Address:
Technical Contact: |  |  |  |  | Technical Contact:
Position: |  |  |  |  | Position:
Phone: |  |  |  |  | Phone:
Email: |  |  |  |  | Email:
BILLING INFROMATION (Invoice )
Billing Contact |  |  |  |  | Email: |  | Phone
Billing Company
(if Payee not same as customer submitting sample)
PAYMENT METHOD
PRIOR TO SERVICE, TTBS REQUIRES PAYMENT OR HARDCOPY OF PURCHASE ORDER REFERENCING QUOTED DOLLAR AMOUNT
Payment Method: | Local
| Foreign | US Account will be provide upon request.
All cheques payable to: TRINIDAD AND TOBAGO BUREAU OF STANDARDS
Step 2: SAMPLE DESCRPTION
Sample Type/ Description |  |  | Sample Quantity | *Service Requested
(Manufacturer, Brand, Style, Batch No. Dimensions etc.) |  |  |  | Test Method |  | Special requirements
|  |  |  | (if assistance required, Indicate: "Lab Suggestion needed") |  | (e.g. sample or environmental conditions, specifications/limits)
Sampling performed by customer? |  |  |  | If YES, please state what sampling method is being used:
Report Delivery
Sample Return
Any other information required on Test Report (e.g. Statement of Conformity {Decision Rule} required or not, Expedited job required etc). Attach additional sheet if required.
*Appendix - List of Laboratory Test Methods attached in tabs for each Lab
Chemical
Cash
Company Cheque/ Bank Draft
Debit Card
ACH
Yes
Email softcopy
Hardcopy to be collected
Yes
No
To advise lab after testing
Wire Transfer (only)
Purchase Order
Fibre
Electrical
Material
No
BACK

## Electrical & EE Lighting Lab
TRINIDAD AND TOBAGO BUREAU OF STANDARDS
ELECTRICAL PRODUCTS TESTING LABORATORY / ENERGY EFFICIENCY LIGHTING LABORATORY
TESTING SERVICES
Product | Test Method
Appliances
Labelling of Appliances | TTS 76 Part 13
Leakage Current | UL & IEC standards
Starting Current | UL & IEC standards
Input test | UL & IEC standards
Dielectric Withstand Voltage | UL & IEC standards
Automotive batteries (for flooded, dry-charged, sealed and unsealed maintenance-free and VLRA gel-type batteries)
Labelling | TTS/IEC 60095-1 and IEC 60095-2
Open circuit voltage assessment | TTS/IEC 60095-1
20 hr Capacity | TTS/IEC 60095-1
Reserve Capacity | TTS/IEC 60095-1
Cranking Performance | TTS/IEC 60095-1
Charge acceptance | TTS/IEC 60095-1
Charge retention | TTS/IEC 60095-1
Water consumption test | TTS/IEC 60095-1
Vibration resistance | TTS/IEC 60095-1
Electrolyte Retention | TTS/IEC 60095-1
Electrical cables (PVC insulated and sheathed cables)
Inspection and Marking | TTS 639 , TTCS 12-2, TTCS 629, BS 6004, BS 50525, BS 5467, BS 6364, BS 7919, BS 7889
Construction - Insulation & sheath thickness and application | TTS 639 , TTCS 12-2, TTCS 629, BS 6004, BS 50525, BS 5467, BS 6364, BS 7919, BS 7889
Construction -Mean overall dimensions | TTS 639 , TTCS 12-2, TTCS 629, BS 6004, BS 50525, BS 5467, BS 6364, BS 7919, BS 7889
Construction - Ovality of circular cables | TTS 639 , TTCS 12-2, TTCS 629, BS 6004, BS 50525, BS 5467, BS 6364, BS 7919, BS 7889
Electrical tests - Conductor resistance | TTS 639 , TTCS 12-2, TTCS 629, BS 6004, BS 50525, BS 5467, BS 6364, BS 7919, BS 7889
Electrical tests - Voltage withstand | TTS 639 , TTCS 12-2, TTCS 629, BS 6004, BS 50525, BS 5467, BS 6364, BS 7919, BS 7889
Electrical tests - Insiulation resistance | TTS 639 , TTCS 12-2, TTCS 629, BS 6004, BS 50525, BS 5467, BS 6364, BS 7919, BS 7889
Decorative Lights (incandescent bulbs and low energy LED bulbs)
Labelling of Appliances | TTS 76 Part 13
Leakage Current | TTS/UL 588
Input test | TTS/UL 588
Dielectric Withstand Voltage | TTS/UL 588
Strain relief | TTS/UL 588
Downward Burning rate | TTS/UL 588
LED shunt (applcable for LED bulbs) | TTS/UL 588
Flammability | TTS/UL 588
Low/High Voltage Insulated Gloves
Inspection | ASTM D120/ASTM F496*
Electric safety performance | ASTM D120/ASTM F496*
Hot sticks (FRPs)
Inspection | ASTM F711
Electric safety performance | ASTM F711
Portable Electric Tools
Labelling of Appliances | TTS 76 Part 13
Leakage Current | UL & IEC standards
Starting Current | UL & IEC standards
Input test | UL & IEC standards
Dielectric Withstand Voltage | UL & IEC standards
Energy Efficiency Lighting Products
Product | Test Method
Compact Fluorescent Lamps (CFLs)
Initial electrical measurement-voltage and current | IEC 60969*
Initial Photometric Measurement (Luminous Flux) | IEC 60969*
Correlated Colour Temperature | IEC 60969*
Colour Rendering Index | IEC 60969*
Luminous Efficacy | IEC 60969*
Lumen Maintenance | IEC 60969*
Energy Efficiency | IEC 60969*
Light-Emitting Diode Lamps (LEDs)
Initial electrical measurement-voltage and current | IEC 62612*
Initial photometric measurement (luminous flux) | IEC 62612*
Correlated Colour temperature | IEC 62612*
Colour Rendering Index | IEC 62612*
Luminous Efficacy Lumen Maintenance | IEC 62612*
Energy Efficiency | IEC 62612*
Advisory and Consultancy Services Available
Asterisked (*) items are on our Accreditation Scope
• If not Compulsory by TTBS, the latest International version of the standard is used.
• Testing is done to the current version of standard at time of request or otherwise requested
• Testing is done to the Issued version if established as a Compulsory standard by TTBS.
Please contact the Electrical Products Laboratory at: | Officer-in-Charge of the Electrical Products Laboratory, Nadine Jeffrey
nadine.jeffrey@ttbs.org.tt or 662-8827 ext 2368
doodnath.singh@ttbs.org.tt or 662-8827 ext 2367
Officer-in-Charge of the Energy Efficiency Lighting Laboratory, Doodnath Singh
doodnath.singh@ttbs.org.tt or 662-8827 ext 2367
Administration Desk
lab.services@ttbs.org.tt
BACK

## Chemical Lab
TRINIDAD AND TOBAGO BUREAU OF STANDARDS
CHEMICAL PRODUCTS TESTING LABORATORY
TESTING SERVICES
Cleaning Chemicals
Product | Test Method | Parameter
Liquid Chlorine Bleach | ASTM D2022-89* - Standard Test Methods of Sampling and Chemical Analysis of Chlorine-Containing Bleaches; TTS58:2018 - Liquid Chlorine Bleach (Sodium Hypochlorite Solution) ; TTCS1:2018 - Liquid Chlorine Bleach (Sodium Hypochlorite Solution) Compulsory Requirements | Available Chlorine
Free Alkali
Volume
Leakproofness
Ullage
Label Evaluation
Hand Dishwashing Liquid | ISO 2271* | Anionic Surfactants
Hand Dishwashing Liquid | ISO 2871-1* | Cationic Surfactants
Hand Dishwashing Liquid | BS3762 - 3.2* | Non-Ionic Surfactants
Disinfectant (QAC type) | ISO 2871-1; ISO 2871-2 | Quaternary ammonium compounds
Liquid Laundry Detergent | ISO 2271* | Anionic Surfactants
Liquid Laundry Detergent | ISO 2871-1; ISO 2871-2* | Cationic Surfactants
Liquid Laundry Detergent | ASTM D1172*; | pH
Powdered Laundry Detergent | ISO 2271* | Anionic Surfactants
Powdered Laundry Detergent | ISO 2871-1* | Cationic Surfactants
Powdered Laundry Detergent | BS3762 - 3.2* | Non-Ionic Surfactants
Powdered Laundry Detergent | ASTM D1172* | pH
Powdered Laundry Detergent | ASTM D820 | Moisture and Volatile Matter
Powdered Laundry Detergent | ASTM D820 | Water Insoluble Matter
Powdered Laundry Detergent | ASTM D820 | Free Alkali as NaOH
Powdered Laundry Detergent | ASTM D820 | Silicate
Powdered Laundry Detergent | ASTM D820 | Carboxymethylcellulose
Powdered Laundry Detergent | ASTM D502-89 | Particle Size
Powdered Laundry Detergent | ASTM D820 | Chloride
All Cleaning Chemicals | OECD 301-D | 28-day Biodegradability
Laundry Detergent | ASTM D820 | Phosphorus
Hand Sanitizer | AOAC 982.10; AOAC 983.12 - Distillation/Densitometric | Total Alcohol content
Conformity Assessment of Compulsory Standards
Product | Test Method | Parameter
Safety Matches | TTS477 - Compulsory Standard - Safety Matches | Specifications for conformity
Jewelry | TTS463- Specifications for Gold Articles | Gold, Silver and other precious metals
Limestone | ASTM C25 - Standard Test Methods for Chemical Analysis of Limestone, Quicklime, and Hydrated Lime | Alumninum Oxide, Calcium Oxide, Magnesium Oxide, pH, LOI, Insoluble Matter, Phosphorus, Silica, Iron Oxide
Toys | ISO 8124-3 | antimony, arsenic, barium, cadmium, chromium, lead, mercury and selenium
Refrigerant | AHRI 700 - C | Refrigerant concentration by Gas Chromatography
Reagent Preparation | ASTM E200 - Standard Practice for Preparation, Standardization, and Storage of Standard and Reagent Solutions for Chemical Analysis | Preparation of specific concentration of chemical reagents e.g. acids, alkalis
Water, Wastewater, Effluent, Riverine and Marine Water sources
Product | Test Method | Parameter
Water | HACH 10129 | Total Organic Carbon ppm and ppb
Wastewater, Effluent and Environmental sources | SMEWW 22nd Edition - 3111 A,B,C,D - Metals* | Sodium metal
Wastewater, Effluent and Environmental sources |  | Magnesium
Wastewater, Effluent and Environmental sources |  | Calcium
Wastewater, Effluent and Environmental sources |  | Potassium
Wastewater, Effluent and Environmental sources |  | Barium
Wastewater, Effluent and Environmental sources |  | Total Chromium
Wastewater, Effluent and Environmental sources |  | Manganese
Wastewater, Effluent and Environmental sources |  | Total Iron
Wastewater, Effluent and Environmental sources |  | Total Cobalt
Wastewater, Effluent and Environmental sources |  | Nickel
Wastewater, Effluent and Environmental sources |  | Zinc
Wastewater, Effluent and Environmental sources |  | Copper
Wastewater, Effluent and Environmental sources |  | Silver
Wastewater, Effluent and Environmental sources |  | Cadmium
Wastewater, Effluent and Environmental sources |  | Aluminum
Wastewater, Effluent and Environmental sources |  | Lead
Wastewater, Effluent and Environmental sources |  | Tin
Water, Wastewater, Effluent and Environmental sources | EPA 7196 - Cr(VI) Colorimetric, SMEWW | Chromium (VI)
Water, Wastewater, Effluent and Environmental sources | SMEWW 22nd Edition - 3111 A,B,C - Vapor Generation | Mercury
Water, Wastewater, Effluent and Environmental sources |  | Arsenic
Water, Wastewater, Effluent and Environmental sources |  | Selenium
Water, Wastewater, Effluent and Environmental sources |  | Antimony
Wastewater, Effluent and Environmental sources | SMEWW 22nd Ed - 3030, SMEWW 3111 - ABC | Total Dissolved Iron
Water, Wastewater, Effluent and Environmental sources | SMEWW 22nd Ed - 4500 P - B,C | Phosphorus/ Phosphates
Wastewater, Effluent and Environmental sources | SMEWW 22nd Ed - 4500 NO3- | Nitrates
Wastewater, Effluent and Environmental sources | SMEWW 22nd Ed - 4500 NO2- | Nitrites
Water, Wastewater, Effluent and Environmental sources | SMEWW 22nd Ed - 4500 H+ - A,B | pH, Temperature
Water, Wastewater, Effluent and Environmental sources | SMEWW 22nd Ed - 4500 O - G - Membrane Electrode | Dissolved Oxygen
Water, Wastewater, Effluent and Environmental sources | SMEWW 22nd Ed - 5220 COD - D - Colorimetric | Chemical Oxygen Demand
Water, Wastewater, Effluent and Environmental sources | SMEWW 22nd Ed - 2540 - A,B - Gravimetric | Total Suspended Solids
Water, Wastewater, Effluent and Environmental sources | EPA 1664; SMEWW 22nd 5520 B,D,E | Total Oil and Grease
Water, Wastewater, Effluent and Environmental sources | Method 1664, Revision A: N-Hexane Extractable Material (HEM; Oil and Grease) and Silica Gel Treated N-Hexane Extractable Material (SGTHEM; Non-polar Material) by Extraction and Gravimetry | Total Petroleum Hydrocarbons
Water, Wastewater, Effluent and Environmental sources | SMEWW 22nd Ed - 4500 NH3+ - B,C | Ammoniacal Nitrogen
Water, Wastewater, Effluent and Environmental sources | SMEWW 22nd Ed - 4500 SO4 2- C,D | Sulphate
Water, Wastewater, Effluent and Environmental sources | SMEWW 22nd Ed - 4500 S2- - C,D | Sulphide
Water, Wastewater, Effluent and Environmental sources | SMEWW 22nd Ed - 4500 Cl - G | Chloride
Water, Wastewater, Effluent and Environmental sources | SMEWW 22nd Ed - 4500 Cl - B | Residual Chlorine
Water, Wastewater, Effluent and Environmental sources | SMEWW 22nd Ed - 4500 E | Cyanide
Water, Wastewater, Effluent and Environmental sources | SMEWW 22nd Ed - 5530 - Phenols - B,C,D | Phenols
Water, Wastewater, Effluent and Environmental sources | EPA 600/4-90/027 F - Methods for Measuring the Acute Toxicity of Effluent and Receiving Water to Freshwater and Marine Organisms | Environmental Toxicology
Water, Wastewater, Effluent and Environmental sources | SMEWW 22nd Ed - 9222B - Standard Total Coliform Membrane Filter Procedure | Total Coliforms
Water, Wastewater, Effluent and Environmental sources | SMEWW 22nd Ed - 9222D - Membrane Filter Technique for Members of the Coliform Group | Faecal Coliforms
Water, Wastewater, Effluent and Environmental sources | SMEWW 22nd Ed - 9223 - Enzyme Substrate Coliform Test | Escherichi Coliforms
Water, Wastewater, Effluent and Environmental sources | SMEWW 22nd Ed - 5210 - BOD - A,B | 5-day Biological Oxygen Demand
Ministry of Energy Approval of Chemicals and Safety Data Sheet Verification
Product | Test Method | Parameter
MEEI Approval of Chemicals | ASTM E70-2024 - Standard Test Method for pH of Aqueous Solutions With the Glass Electrode | pH
MEEI Approval of Chemicals | ASTM D1120-22 - Standard Test Method for Boiling Point of Engine Coolants | Boiling Point
MEEI Approval of Chemicals | ASTM D445-23 - Standard Test Method for Kinematic Viscosity of Transparent and Opaque Liquids (and Calculation of Dynamic Viscosity) | Viscosity
MEEI Approval of Chemicals | ASTM D93-20 - Standard Test Methods for Flash Point by Pensky-Martens Closed Cup Tester | Flash Point
MEEI Approval of Chemicals | ASTM D1298 - Standard Test Method for Density, Relative Density, or API Gravity of Crude Petroleum and Liquid Petroleum Products by Hydrometer Method | Density / Specific Gravity
MEEI Approval of Chemicals | OECD 301-D | Biodegradability
MEEI Approval of Chemicals | EPA 600/4-90/027 F - Methods for Measuring the Acute Toxicity of Effluent and Receiving Water to Freshwater and Marine Organisms | Acute Toxicology
Advisory and Consultancy Services Available
Please contact the laboratory at: | Chemical Products Laboratory
Phone: | 662-TTBS(8827), 4481/2, 663-4835/6 EXT. 2369/2382/2383
Fax: | 663-4335
Email: | kester.siewlal@ttbs.org.tt
Administration Desk
lab.services@ttbs.org.tt
BACK

## Fibre Lab
TRINIDAD AND TOBAGO BUREAU OF STANDARDS
FIBRE PRODUCTS LABORATORY
TESTING SERVICES
Product | Test Method
Fabric/Garment
Length & Width | ISO 22198
Fibre Identification-Single fibre | AATCC 20
-Two fibres | AATCC 20A
-Three fibres | AATCC 20A
Fabric Weight | ISO 3801/ASTM D3776
Thread Count | ASTM D3775
Dimensional Change of Fabrics | AATCC 135
Dimensional Change of Garments | AATCC 150
Colorfastness to Laundering | ISO 105-C06 / AATCC 61
Colorfastness to Crocking | AATCC 8 / AATCC 116
Colorfastness to Perspiration | AATCC 15
Colorfastness to Water | AATCC 107
Water Repellancy- Spray test | AATCC 22
Tearing Strength- Elmendorf Method | ASTM D1424
Breaking Strength- Grab Method | ASTM D5034
Breaking Strength- Strip Method | ASTM D5035
Pilling Resistance | ASTM D3512
Determination of Formaldehyde | ISO 14184
Colour Determination | Visual & Technical Analysis
Quality of Workmanship | Blouse, Shirt, Skirt, Coverall
Development of fabric & design specifications | Done on a one on one basis with customer
Footwear
Development of specifications | Visual & Technical Analysis
Verification of specifications | LABM07-002
Chemical Resistance (Acid and/or Oil) | ISO 1817
Impact Resistance | ASTMF 2412
Compression Resistance | ASTMF 2412
Toilet Tissue
Visual Analysis | TTS national standard
Basis Weight & Dimensions
Dry Tensile Strength
Absorption Time
Detergents
Performance testing- Stain Removal | LABM07-003
Advisory & Consultancy Services Available
 All prices are Vat Exclusive and per sample/test item  Testing is done to the current version of standard at time of request or otherwise requested  For accredited test listing, please contact the laboratory via the information below.
*Please contact the Fibre Products Laboratory, at fibre.labstaff@ttbs.org.tt or 662-8827 Ext 2385 for formal quotation.
Administration Desk
lab.services@ttbs.org.tt
Last updated: 2024-02-22
BACK

## Materials Lab
TRINIDAD AND TOBAGO BUREAU OF STANDARDS
MATERIALS PRODUCTS TESTING LABORATORY
TESTING SERVICES
Products | Test Methods
Weld Qualifications (API 1104, ASME BPVC Section IX and AWS D1.1/ D1.1M)
Tensile - Welds < 25mm | ASTM A370*
Tensile - Welds ≥ 25mm | ASTM A370*
Bend (Side, Root or Face) | ASTM A370, ASTM E290, ASTM E190, and LABP08-002
Macroscopic Examination | ASTM E3 and ASTM E340
Metallographic Preparation | ASTM E3 and ASTM E340
Vickers Hardness Indentation | ASTM E92*
Nick-Break | Relevant weld code
Fillet Weld Break | Relevant weld code
Charpy Impact (Ambient Temp) | ASTM E23 and ASTM A370
Charpy Impact (Sub-Ambient Temp) | ASTM E23 and ASTM A370
Charpy Impact (Etxreme Sub-Ambient Temp) | ASTM E23 and ASTM A370
Machining of V-Notch (Charpy) | ASTM E23 and ASTM A370
Metal/ Alloys (wires, plates, pipes, tubing, bars, fastners)
Tensile | ASTM A370* and ASTM E8/ E8M*
Friction Resistance | Relevant specification
Charpy Impact (Ambient Temperature) | ASTM E23 and ASTM A370
Charpy Impact (Sub-Ambient Temp) | ASTM E23 and ASTM A370
Charpy Impact (Extreme Sub-Ambient Temp) | ASTM E23 and ASTM A370
Machining of V-Notch (Charpy) | ASTM E23 and ASTM A370
Chemical Analysis via XRF | ASTM A751
Chemical Analysis via OES | ASTM A751
Roofing sheets and Cold Formed Steel Framing Members
Coating Mass | ASTM A90*, LABP08-004*, TTS 69 and TTS 598
Base Metal Thickness | LABP08-005*, TTS 69 and TTS 598
Dimentional / Sectional / Member Characteristics | TTS 69 and TTS 598
Labelling and Designation | TTS 69 and TTS 598
Mechanical Properties (UTS, YS, Max load and Elongation | ASTM A370*, TTS 69 and TTS 598
Reinforced Steel Bars (TTS/ASTM A615 / A615M and TTS/ ASTM A706 / A760M)
Mechanical Properties (UTS, YS, Max load and Elongation | ASTM A370*, ASTM A615/A615M and ASTM A706/ A706M
Mass per length | Relevant specification
Deformation Analysis | Relevant specification
Bend (Side, Root or Face) | ASTM E290 and ASTM E190
Advisory and Consultancy Services Available
Asterisked (*) items are on our Accreditation Scope
• If not Compulsory by TTBS, the latest International version of the standard is used.
• Testing is done to the current version of standard at time of request or otherwise requested
• Testing is done to the Issued version if established as a Compulsory standard by TTBS.
Please contact the Materials Products Laboratory at: | Officer-in-Charge of the Materialsl Products Laboratory, Hugh Pickering
hugh.pickering@ttbs.org.tt
conrad.duncan@ttbs.org.tt
Administration Desk
lab.services@ttbs.org.tt
BACK

## Customer FeedBack Form
Return to Main Page